## Version-in-Idrive
S800 electronics modules inventory
type | manufacturer | model | channels | module description | s/n | e-pool | property tag | location | PO | documentation | note
CAMAC | LeCroy | 8025 |  | CAMAC crate |  |  | MSU 010204 | R1C1
CAMAC | LeCroy | 8025 |  | CAMAC PS unit |  |  | MSU 004226 | R1C1
VME | WIENER |  |  | VME crate |  | 2225 |  | R2C1
VME | WIENER |  |  | VME fan tray unit |  | 2491 |  | R2C1
NIM | Mech-Tronics | 000159-00 |  | NIM bin | 945007 | 1812 | MSU CU-4488 | R1C2
NIM |  |  |  | NIM bin |  |  |  | R1C3
NIM | Mech-Tronics | 000159-00 |  | NIM bin | 200080 | 2672 |  | R1C4
NIM | BL Packer | NB10 |  | NIM bin | E060 | 1307 |  | R1C5
NIM | EG&G | 4001C |  | NIM bin |  |  |  | R2C2
CAMAC | Phillips Scientific | 7106 | 16 | discriminator latch | 1859 | 898 |  | R1C1S06
CAMAC | Phillips Scientific | 7164H | 16 | peak ADC | 26862 | 3092 |  | R1C1S07
CAMAC | Phillips Scientific | 7164H | 16 | peak ADC | 17047 |  |  | R1C1S08
CAMAC | Phillips Scientific | 7164H | 16 | peak ADC | 17739 | 2150 |  | R1C1S09
CAMAC | Phillips Scientific | 7106 | 16 | discriminator latch | 1860 | 898 |  | R1C1S10
CAMAC | LeCroy | 4448 | 16 | coincidence register | B33692 | 1768 |  | R1C1S13
CAMAC | LeCroy | 4300B | 16 | FERA ADC | B38606 | 1916 |  | R1C1S14
CAMAC | LeCroy | 4434 | 32 | scaler | B19756 |  |  | R1C1S16
CAMAC | LeCroy | 2367 | 59 | ULM | B69408 | 2275 |  | R1C1S17
CAMAC | LeCroy | 4300B | 16 | FERA ADC | 87664 |  |  | R1C1S18
CAMAC | Phillips Scientific | 7186H | 16 | TDC | 26860 | 3095 |  | R1C1S19
CAMAC | LeCroy | 4413 | 16 | discriminator | B03006 |  |  | R1C1S20
CAMAC | Phillips Scientific | 7164 | 16 | peak ADC | 22839 | 2698 |  | R1C1S22
CAMAC | WIENER | CC-USB |  | CAMAC-USB interface | CC0287 | 3401 |  | R1C1S24
NIM | mesytec | MCFD-16 | 16 | CFD |  | 3171 |  | R1C2S1
NIM | Berkely Nucleonics | BH-1 | 1 | tail pulse generator | 13186 | 537 |  | R1C2S2
NIM | NSCL |  | 16 | ECL-NIM-ECL converter |  | 3058 |  | R1C2S4
NIM | ESN | LF4000 | 4 | logic fan in/fan out | 139 | 220 |  | R1C2S5
NIM | NSCL | QDGG | 4 | gate delay generator |  | 1277 |  | R1C2S6
NIM | NSCL |  | 4 | logic fan-in/fan-out |  | 3074 |  | R1C2S7
NIM | NSCL |  | 4 | logic fan-in/fan-out |  | 3082 |  | R1C2S8
NIM | NSCL |  | 8 | ECL-NIM-ECL converter |  | 2612 |  | R1C2S9
NIM | ESN | LF4000 | 4 | logic fan in/fan out | 985237 | 250 |  | R1C2S10
NIM | LeCroy | 429A | 4 | logic fan in/fan out | 68706 | 431 |  | R1C2S11
NIM | LeCroy | 222 | 2 | dual gate generator | 97219 | 855 |  | R1C2S12
NIM | NSCL | QDGG | 4 | gate delay generator |  | 3482 |  | R1C3S1
NIM | CAEN | N568B | 16 | spectroscopy amplifier | 154 | 2278 |  | R1C3S2
NIM | NSCL |  | 16 | delay box |  |  |  | R1C3S3
NIM | Canberra | 454 | 4 | CFD | 13000051 | 3040 |  | R1C3S4
NIM | NSCL | QDGG | 4 | gate delay generator |  | 3176 |  | R1C3S5
NIM | Phillips Scientific | 755 | 4 | logic unit | 374 | 425 |  | R1C3S6
NIM |  |  | 16 | ECL-NIM-ECL converter |  | 2595 |  | R1C3S7
NIM | ESN | LF4000 | 4 | logic fan in/fan out | 138 | 227 |  | R1C3S9
NIM | ESN | EC1601 | 8 | ECL-NIM-ECL converter | 109 | 517 |  | R1C3S10
NIM | ESN | EC1600 | 8 | ECL-NIM-ECL converter | IR0050 | 1407 |  | R1C3S11
NIM | NSCL |  | 16 | splitter/attenuator |  | 1579 |  | R1C3S12
NIM | CAEN | N568B | 16 | spectroscopy amplifier | 213 | 2386 |  | R1C4S2
NIM | CAEN | N568B | 16 | spectroscopy amplifier | 105 | 2222 |  | R1C4S4
NIM | ESN | LF4000 | 4 | logic fan in/fan out | 137 | 252 |  | R1C4S11
VME | WIENER | VM-USB |  |  | VM0305 |  |  | R2C1S1
VME |  | XLM72 | [5 empty] | R2C1S4
VME |  | XLM72 | [5 empty] | R2C1S7
VME |  | XLM72V | [5 empty] | R2C1S10
VME |  | XLM72V | [5 empty] | R2C1S12
VME |  | XLM72V | [5 empty] | R2C1S16
VME | CAEN | V288 |  | CAENET VME controller | 246 | 2621 |  | R2C1S21
NIM | NSCL |  | 4 | fast amplifier |  | 681 |  | R2C2S7
NIM | LeCroy | 612AM | 6 | variable PM amplifier | 90547 | 2114 |  | R2C2S8
NIM | Phillips Scientific | 752 | 4 | 2-fold logic unit | 20048 | 2374 |  | R2C2S9
NIM | Tennelec | TC241S | 1 | amplifier | 2139 | 1638 |  | R2C2S10
NIM | Tennelec | TC241S | 1 | amplifier |  | 2678 |  | R2C2S11
CAMAC | LeCroy | 2367 | 59 | ULM | B69256 | 2274 |  | spare |  |  | broken output C6; replaced MC10125P chip for channels C5-8
CAMAC | LeCroy | 2367 | 59 | ULM | B69412 | 2276 |  | spare
NIM | LBL | 21X6691 P-1 | 4 | quad delay gate generator |  | 245 | MSU 198-CU | spare
NIM | Phillips Scientific | 755 | 4 | quad fourfold logic unit | 333 | 423 | MSU CU-3292-F | spare
NIM | Tennelec | TC241S | 1 | timing amplifier |  | 631 | MSU CU-347 8F | spare
NIM | Tennelec | TC241S | 1 | timing amplifier |  | 1095 | MSU CU-347 9F | spare
NIM | ESN | RD 2000 | 2 | rate divider |  | 362 | MSU CU-3715F | spare
NIM | ESN | LF4000 | 4 | logic fan in/fan out | 0985293 | 231 |  | spare
NIM | NSCL |  | 8 | ECL-NIM-ECL converter | 5 | 2596 |  | spare
NIM | NSCL |  | 4 | logic fan in/fan out |  | 2664 |  | spare
NIM | ORTEC EG&G | T122/NL | 4 | quad updating discriminator | 208 06 | 49 | MSU 20-CU | spare
NIM | LBL | 21X6421 P-1 | 4 | fourfold logic |  | 1339 | MSU 186-CU | spare
NIM | NSCL |  | 4 | quad fast amp | 20 | 308 |  | spare
NIM | LeCroy | 612A | 12 | PM amplifier | 90312 | 430 | MSU CU-3258F | spare
NIM | CAEN | N568B | 16 | spectroscopy amplifier | 0209 | 2385 |  | spare
CAMAC | Phillips Scientific | 7164H | 16 | peak ADC | 17046 | 2001 |  | spare |  |  | no data read DB 6/30/10
CAMAC | Phillips Scientific | 7164H | 16 | peak ADC | 26863 | 3093 |  | spare
CAMAC | Phillips Scientific | 7164 | 16 | peak ADC | 17845 | 2170 |  | spare
CAMAC | Phillips Scientific | 7164H | 16 | peak ADC | 17402 | 2009 |  | spare
CAMAC | Phillips Scientific | 7106 | 16 | discriminator latch | 1843 | 896 |  | spare
CAMAC | WIENER | CC-USB |  | CAMAC-USB interface | CC0105 | 2835 |  | spare
CAMAC | LeCroy | 4300B | 16 | FERA ADC | B38504 | 1901 |  | spare
CAMAC | LeCroy | 4413 | 16 | discriminator | A69893 | 861 |  | spare
VME | CAEN | V288 |  | CAENET VME controller | 0237 | 2569 |  | spare
VME | SIS | SIS3820 | 32 | scaler | 218 | 2826 |  | spare |  |  | Borrowed by Mallory Smith on 3/4/2022
CAMAC | Phillips Scientific | 7164 | 16 | peak ADC | 17844 | 2169 |  | spare
VME | mesytec | MTDC-32 | 32 | TDC | MTDC-32-0514024 |  |  | spare
VME | SIS | SIS3820 | 32 | scaler | 220 | 2828 |  | spare
CAMAC | LeCroy | 4448 | 16 | coincidence register | 80668 | 2059 |  | spare
VME | mesytec | MQDC-32 | 32 | QDC | MQDC-32-0520121 |  |  | spare | C167464
VME | mesytec | MQDC-32 | 32 | QDC | MQDC-32-0520122 |  |  | spare | C167464
VME | mesytec | MCFD-16 | 16 | CFD | MCFD-16-1119137 |  |  | spare | C167464 |  | Borrowed by Mallory Smith on 3/4/2022
VME | mesytec | MTDC-32 | 32 | TDC | MTDC-32-1020193 |  |  | spare | C167464 |  | Borrowed by Mallory Smith on 3/4/2022

## May2023
S800 electronics modules inventory
type | manufacturer | model | channels | module description | s/n | e-pool | property tag | location | PO | documentation | note | Blue background - checked and found this module.
Yellow background - looking for this module.
CAMAC | LeCroy | 8025 |  | CAMAC crate | 1874 |  | MSU 010204 | R1C1 |  |  |  | Blue font - changes from last version
CAMAC | LeCroy | 8025 |  | CAMAC PS unit | 852607 |  | MSU 004226 | R1C1 |  |  |  | Bold font - added information
VME | WIENER |  |  | VME crate |  | 2225 |  | R2C1 |  |  |  | Purple font - not yet found, but I think I know who to ask.
VME | WIENER |  |  | VME fan tray unit |  | 2491 |  | R2C1 |  |  |  | Red font - not found
NIM | Mech-Tronics | 000159-00 |  | NIM bin | 945007 | 1812 | MSU CU-4488 | R1C2
NIM |  |  |  | NIM bin |  | 3171? |  | R1C3
NIM | Mech-Tronics | 000159-00 |  | NIM bin | 200080 | 2672 |  | R1C4
NIM | BL Packer | NB10 |  | NIM bin | E060 | 1307 |  | R1C5 |  |  | cannot read the number
NIM | EG&G ORTEC | 4001C |  | NIM bin |  | 1023? |  | R2C2
CAMAC | Phillips Scientific | 7106 | 16 | discriminator latch | 1859 | 898 |  | R1C1S01
CAMAC | Phillips Scientific | 7164H | 16 | peak ADC | 26862 | 3092 |  | R1C1S06
CAMAC | Phillips Scientific | 7164H | 16 | peak ADC | 17047 |  |  | R1C1S07
CAMAC | Phillips Scientific | 7164H | 16 | peak ADC | 17739 | 2150 |  | R1C1S08
CAMAC | Phillips Scientific | 7106 | 16 | discriminator latch | 1860 | 908 |  | R1C1S10
NIM | NSCL |  | 16 | Splitter Attenuator Module 2 |  | 1427 |  | R1C1S11
R1C1S12
CAMAC | LeCroy | 4448 | 16 | coincidence register | B33692 | 1768 |  | R1C1S13
CAMAC | LeCroy | 4300B | 16 | FERA ADC | B38606 | 1916 |  | R1C1S18
CAMAC | LeCroy | 4434 | 32 | scaler | B19756 |  |  | R1C1S16
CAMAC | LeCroy | 2367 | 59 | ULM | B69408 | 2275 |  | R1C1S17
CAMAC | LeCroy | 4300B | 16 | FERA ADC | B38606 | 1916 |  | R1C1S18
CAMAC | Phillips Scientific | 7186H | 16 | TDC | 26860 | 3095 |  | R1C1S19
CAMAC | LeCroy | 4413 | 16 | discriminator | B03006 |  |  | R1C1S20
CAMAC | Phillips Scientific | 7164 | 16 | peak ADC | 22839 | 2698 |  | R1C1S22
CAMAC | WIENER | CC-USB |  | CAMAC-USB interface | CC0287 | 3401 |  | R1C1S24
NIM | mesytec | MCFD-16 | 16 | CFD |  | 3171 |  | R1C2S1
NIM | Berkely Nucleonics | BH-1 | 1 | tail pulse generator | 13186 | 537 |  | R1C2S2
NIM | NSCL |  | 16 | ECL-NIM-ECL converter |  | 3058 |  | R1C2S4
NIM | ESN | LF4000 | 4 | logic fan in/fan out | 139 | 220 |  | R1C2S5
NIM | NSCL | QDGG | 4 | gate delay generator |  | 1277 |  | R1C2S6
NIM | NSCL |  | 4 | logic fan-in/fan-out |  | 3074 |  | R1C2S7
NIM | NSCL |  | 4 | logic fan-in/fan-out |  | 3082 |  | R1C2S8
NIM | NSCL |  | 8 | ECL-NIM-ECL converter |  | 2612 |  | R1C2S9
NIM | ESN | LF4000 | 4 | logic fan in/fan out | 985237 | 250 |  | R1C2S10
NIM | LeCroy | 429A | 4 | logic fan in/fan out | 68706 | 431 |  | R1C2S11
NIM | LeCroy | 222 | 2 | dual gate generator | 97219 | 855 |  | R1C2S12
NIM | NSCL | QDGG | 4 | gate delay generator |  | 3482 |  | R1C3S1
NIM | CAEN | N568B | 16 | spectroscopy amplifier | 154 | 2278 |  | R1C3S2
NIM | NSCL |  | 16 | delay box |  |  |  | R1C3S3
NIM | Canberra | 454 | 4 | CFD | 13000051 | 3040 |  | R1C3S4
NIM | NSCL | QDGG | 4 | gate delay generator |  | 3176 |  | R1C3S5
NIM | Phillips Scientific | 755 | 4 | logic unit | 374 | 425 |  | R1C3S6
NIM |  |  | 16 | ECL-NIM-ECL converter |  | 2595 |  | R1C3S7
NIM | ESN | LF4000 | 4 | logic fan in/fan out | 138 | 227 |  | R1C3S9
NIM | CAEN | N638 | 16 | NIM/ECL converter | 22145 |  |  | R1C3S10
NIM | ESN | EC1600 | 8 | ECL-NIM-ECL converter | IR0050 | 1407 |  | R1C3S11
NIM | NSCL |  | 16 | splitter/attenuator |  | 1579 |  | R1C3S12
NIM | CAEN | N568LC | 16 | spectroscopy amplifier |  | 64 |  | R1C4S2
NIM | CAEN | N568B | 16 | spectroscopy amplifier | 105 | 2222 |  | R1C4S4
NIM | ESN | LF4000 | 4 | logic fan in/fan out | 137 | 252 |  | R1C4S11
VME | WIENER | VM-USB |  |  | VM3467 |  |  | R2C1S1
VME | Mesytec | MTDC-32 | [5 empty] | R2C1S2
VME |  | XLM72 | [5 empty] | R2C1S4
VME |  | XLM72 | [5 empty] | R2C1S7
VME |  | XLM72V | [5 empty] | R2C1S10
VME |  | XLM72V | [5 empty] | R2C1S12
VME |  | XLM72V | [5 empty] | R2C1S16
VME | Mesytec | MDDP-32 | [5 empty] | R2C1S18
VME | CAEN | V288 |  | CAENET VME controller | 246 | 2621 |  | R2C1S21
VME | Mesytec | MHL-32 | [5 empty] | R2C2S1
NIM |  | Quad Fast amp |  |  |  | 1677 |  | R2C2S3
NIM | Phillips Scientific | 7162 |  |  | 27374 | 3158 |  | R2C2S4
NIM | Canberra | CFD454 |  |  |  | 3154 |  | R2C2S5
NIM | NSCL |  | 4 | fast amplifier |  | 681 |  | R2C2S7
NIM | LeCroy | 612AM | 6 | variable PM amplifier | 90547 | 2114 |  | R2C2S8
NIM | Phillips Scientific | 752 | 4 | 2-fold logic unit | 20048 | 2374 |  | R2C2S9
NIM | Tennelec | TC241S | 1 | amplifier | 2139 | 1638 |  | R2C2S10
NIM | Tennelec | TC241S | 1 | amplifier |  | 2678 |  | R2C2S11
CAMAC | LeCroy | 2367 | 59 | ULM | B69256 | 2274 |  | spare |  |  | broken output C6; replaced MC10125P chip for channels C5-8
CAMAC | LeCroy | 2367 | 59 | ULM | B69412 | 2276 |  | spare
NIM | LBL | 21X6691 P-1 | 4 | quad delay gate generator |  | 245 | MSU 198-CU | spare
NIM | Phillips Scientific | 755 | 4 | quad fourfold logic unit | 333 | 423 | MSU CU-3292-F | spare
NIM | Tennelec | TC241S | 1 | timing amplifier |  | 182 | MSU CU-345 2F | spare
NIM | Tennelec | TC241S | 1 | timing amplifier |  | 159 | MSU CU-351 5F | spare
NIM | Tennelec | TC241S | 1 | timing amplifier |  | 168 | MSU CU-347 7F | spare
NIM | Tennelec | TC241S | 1 | timing amplifier |  | 631 | MSU CU-347 8F | spare
NIM | Tennelec | TC241S | 1 | timing amplifier |  | 1095 | MSU CU-347 9F | spare
NIM | ESN | RD 2000 | 2 | rate divider |  | 362 | MSU CU-3715F | spare
NIM | ESN | LF4000 | 4 | logic fan in/fan out | 0985293 | 231 |  | spare
NIM | NSCL |  | 8 | ECL-NIM-ECL converter | 5 | 2596 |  | spare |  |  | probably the one being borrowed by Mallory.
NIM | NSCL |  | 4 | logic fan in/fan out |  | 2664 |  | spare |  |  | not found
NIM | ORTEC EG&G | T122/NL | 4 | quad updating discriminator | 208 06 | 49 | MSU 20-CU | spare |  |  | not found
NIM | LBL | 21X6421 P-1 | 4 | fourfold logic |  | 1339 | MSU 186-CU | spare |  |  | not found
NIM | NSCL |  | 4 | quad fast amp | 20 | 308 |  | spare
NIM | NSCL |  | 4 | quad fast amp |  | 1648 |  | spare
NIM | LeCroy | 612A | 12 | PM amplifier | 90312 | 430 | MSU CU-3258F | spare
NIM | CAEN | N568B | 16 | spectroscopy amplifier | 0209 | 2385 |  | spare
CAMAC | Phillips Scientific | 7164H | 16 | peak ADC | 17046 | 2001 |  | spare |  |  | no data read DB 6/30/10
CAMAC | Phillips Scientific | 7164H | 16 | peak ADC | 26863 | 3093 |  | spare
CAMAC | Phillips Scientific | 7164 | 16 | peak ADC | 17845 | 2170 |  | spare
CAMAC | Phillips Scientific | 7164H | 16 | peak ADC | 17402 | 2009 |  | spare
CAMAC | Phillips Scientific | 7106 | 16 | discriminator latch | 1843 | 896 |  | spare
CAMAC | WIENER | CC-USB |  | CAMAC-USB interface | CC0105 | 2835 |  | spare
CAMAC | LeCroy | 4300B | 16 | FERA ADC | B38504 | 1901 |  | spare
CAMAC | LeCroy | 4413 | 16 | discriminator | A69893 | 861 |  | spare
VME | CAEN | V288 |  | CAENET VME controller | 0237 | 2569 |  | spare
VME | SIS | SIS3820 | 32 | scaler | 218 | 2826 |  | spare |  |  | not found
CAMAC | Phillips Scientific | 7164 | 16 | peak ADC | 17844 | 2169 |  | spare
VME | mesytec | MTDC-32 | 32 | TDC | MTDC-32-0514024 |  |  | spare |  |  | The one in R2C1S1 or det. Lab? Need to see the number to know.
VME | SIS | SIS3820 | 32 | scaler | 220 | 2828 |  | spare |  |  | not found
CAMAC | LeCroy | 4448 | 16 | coincidence register | 80668 | 2059 |  | spare
VME | mesytec | MQDC-32 | 32 | QDC | MQDC-32-0520121 |  |  | spare | C167464
VME | mesytec | MQDC-32 | 32 | QDC | MQDC-32-0520122 |  |  | spare | C167464
VME | mesytec | MCFD-16 | 16 | CFD | MCFD-16-1119137 |  |  | spare | C167464 |  | There is one in the detector lab. Need to see number.
VME | mesytec | MTDC-32 | 32 | TDC | MTDC-32-1020193 |  |  | spare | C167464
NIM | CAEN | N568B | 16 | spectroscopy amplifier | 213 | 2386 |  |  |  |  | not found
VME | WIENER | VM-USB |  |  | VM0305 |  |  | R2C1S1 |  |  | Recently replaced by Giordano. Need to ask him to confirm the number.
VME | WIENER | VM-USB |  |  | VM0475 |  |  | spare |  |  | Lying in Rack 2.
CAMAC | LeCroy | 4300B | 16 | FERA ADC | 83255 | 867 |  | spare
CAMAC | LeCroy | 4300B | 16 | FERA ADC | 84190 | 808 |  | spare
CAMAC | LeCroy | 4300B | 16 | FERA ADC | B38554 | 1907 |  | spare
CAMAC | Phillips Scientific | 7106 | 16 | discriminator latch | 6243 | 896 |  | spare
CAMAC | Phillips Scientific | 7106 | 16 | discriminator latch | 1857 | 534 |  | spare
CAMAC | Phillips Scientific |  | 16 | peak ADC | 27351 | 3227 |  | spare
CAMAC | Phillips Scientific |  | 16 | peak ADC | 17843 | 2618 |  | spare
CAMAC | Phillips Scientific |  | 16 | peak ADC | 17845 | 2170 |  | spare
CAMAC | Phillips Scientific |  | 16 | peak ADC | 17844 | 2169 |  | spare |  |  | not found
NIM | Tennelec | TC455 |  |  | 218 | 216 | MSU CU-3526F | spare |  |  | output signals multiply signal regardless of threshold
NIM |  | 21x4141 |  | Quad CFD |  | 1336 |  | spare
NIM |  | 21x4141 |  | Quad CFD |  | 348 |  | spare
NIM | ORTEC EG&G | EC1600 |  | ECL-NIM-ECL | 208 06 | 2700 |  | spare
VME |  | XLM72 |  |  | XLM008 |  |  | spare