## Slide 1: Astro-Gamma Electrostatic & Other Calculations
David Perez Loureiro
NSCL/MSU
9th September 2015

## Slide 2
83 equipotential strips
(3mm wide)
0.5 mm gap
Kapton layer (0.3 mm)
1.5cm
3cm
1cm
Gating Grid
Corona Ring 5mm radius
14cm
Variable Ring
Variable ring allows to change the field lines in the region near the mesh placed at 5mm from micromesh

## Slide 3
Variable Ring
Set to -160V
Gating Grid off
Field lines

## Slide 4
Electric field below 5kV/cm. Safe for sparking
Ar-iso 2.5% 1 atm 1cm
VB= 5981 V
Ar-iso 5% 1 atm 1cm
VB= 7323 V
Ar-iso 10% 1 atm 1cm
VB= 9611 V

## Slide 5
Drift field uniformity

## Slide 6
Gating Grid On

## Slide 8
Electron drift lines
Potential (V)
Y [cm]
Z [cm]
E
200 V
0 V

## Slide 9
E
200 V  V
0 V
+V
-V
+V

## Slide 10: Gating Grid Transparency
Chart: Voltage difference
| 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80
2 mm | 0.951 | 0.8807 | 0.7434 | 0.6147 | 0.4813 | 0.3479 | 0.2148 | 0.0832 | 0
1 mm | 0.9015 | 0.7176 | 0.392 | 0.0649 | 0 | 0 | 0 | 0 | 0
2 mm Diff | 0.9382 | 0.8864 | 0.7592 | 0.6244 | 0.4877 | 0.3592 | 0.2273 | 0.1138 | 0.0418
1 mm Diff | 0.8803 | 0.7263 | 0.4094 | 0.1347 | 0.0233 | 0.0019 | 0.0001 | 0 | 0
Diffusion enabled
Diffusion disabled

## Slide 11
Chart: Proton Ranges at 1 atm
| 200 | 300 | 500 | 700 | 900 | 1000 | 1200 | 1500
SRIM Ne | 6.25 | 9.31 | 16.9 | 26.4 | 37.7 | 43.8 | 57.3 | 80.6
Geant4 Ne | 7.225 | 10.25 | 17.75 | 27.16 | 38.37 | 44.59 | 58.2 | 81.3
SRIM Ar | 2.77 | 4.67 | 9.56 | 15.6 | 22.7 | 26.7 | 35.4 | 49.9
Geant Ar | 3.092 | 4.915 | 9.624 | 15.52 | 22.45 | 26.27 | 34.66 | 48.84
NIST Ne CSDA | 6.9636 | 9.9893 | 17.5671 | 27.0006 | 38.0799 | 44.2338 | 57.6983 | 80.7513
NIST CSDA Ar | 3.0193 | 4.8381 | 9.5427 | 15.4091 | 22.2864 | 26.089 | 34.4164 | 48.6582
Ne
Ar

## Slide 12
Chart: Differences Range
| 200 | 300 | 500 | 700 | 900 | 1000 | 1200 | 1500
 | 0.975 | 0.94 | 0.85 | 0.76 | 0.67 | 0.79 | 0.9 | 0.7
 | 0.71363 | 0.67927 | 0.66708 | 0.6006 | 0.3799 | 0.43375 | 0.39827 | 0.15134
 | 0.322 | 0.245 | 0.064 | -0.08 | -0.25 | -0.43 | -0.74 | -1.06
 | 0.24925 | 0.16815 | -0.01728 | -0.19085 | -0.4136 | -0.61095 | -0.98363 | -1.2418
Ne